EXCLUSIVE HIGH-END SPECIFICATIONS & FEATURES

FOR A CLASSY LIFESTYLE

STRUCTURE

Structural System

RCC Framed structure designed to withstand earthquake of Zone 3

Masonry

Red bricks wire cut 1 quality bricks only.

Lofts will be provided room one side (kitchen,bed room)as per the condition of the site.

INTERRIOR WORK

FALSE CEILING

Hall & M.bed room with led lights.

MODULAR KITCHEN

Modular kitchen with Water proof plywood box type work

Hinges of Ebco/Kaff/Equivalent

Accessories oil pull out,Plain basket,Cutlery,in Sleek/Kaff/Equivalent

Kitchen Top cabinet wood work with glass partition (specific area)

LOFT

commercial plywood and frame work

CUPBOARD Mason work partition with granite stone

commercial plywood with frame type work

Hinges, Tower bolts, in Ebco/Kaff/Equivalent

plywood paste with mirror TV,SHOWCASE,POOGAI commercial plywood and box type work (specific area)

WALL FINISH

Internal walls

Living, dining, bedrooms, kitchen, bathroom & lobby finished with 2 coats of putty, 1 coat of primer & 2 coats of Premium emulsion of Asian paint

Exterior walls

Exterior faces of the building finished with 2 coat of Texture putty, 1 coat of primer & 2 coats of Apex Emulsion paint.

Bathroom

Glazed ceramic tile height of size 24”x48”upto ceiling level

Kitchen

Ceramic wall tile of size 24”x48” for a height upto ceiling level.

Toilet ceiling

Finished with 2 coat of Putty, 1 coat of primer & 2 coats of Emulsion paint.

FLOOR FINISH WITH SKIRTING

Door entrance

Granite stone

Living, Dining

Vitrified tiles of size 2’.6’’x2’.6’’

Kitchen & child bedroom

Vitrified tiles of size 2’.0’’x2’.0’’

Master Bedroom

Wooden laminated flooring for bedrooms/Vitrified tiles of size 2’.0’’x2’.0’’

Bathroom & Balcony

Anti-skid ceramic tiles of size 15”x15”.

KITCHEN & DINING

Kitchen

Platform will be finished with granite slab of 24” wide at height of 32” from the finished floor level ,electrical point for chimney & water purifier

CP fitting

Jaguar fittings

Sink

Stainless steel Single bowl sink with drainboard (41”x20”x10”) 304 Grade hindware brand

STOP COCK

Bore water & Metro water OF Jaguar/hindware/Equivalent

BATHROOMS

Sanitary fixture &  CP fitting

Jaguar/Hindware/Equivalent

Bathrooms

Stop cock,

Wall mounted closset WC with cistern,

Single lever diverter with hand shower

Counter wash basin with polished granite with ABS door

Health faucet, Rain shower,Bib cock2 IN 1

JOINERY

Antique Brass Fittings

All the doors are Hinges,Tower bolt,Door magnet,Door stopper,etc make of antique brass fittings

.

Main door

- The main door Frame entrance7,.9” x 3,.6” & shutter will be solid teak door

- Mealmine polished with spray painting

- 6 button door lock with 4 dot key of Europa/ equivalent -15 year warranty

- Hinges, tower bolts,door Magnet, door stopper in antique brass finish

- Main door ss grill will be provided

Bedroom doors

- ABS frame & door -10 year warranty

- Cylindrical lock with key of Europa equivalent locks,

- Hinges, door Magnet, door stopper, tower bolt, in antique brass finish.

Bathroom doors

- ABS frame & door -10 year warranty

- Cylindrical lock without key of Europa equivalent locks,

- Hinges,baby tower bolt, in antique brass finish and Door bush

- Balcony & service

- UPVC door for balcony with grill

Balcony & service  ss grill will be provided

Windows

UPVC with openable windows & with see through plain/Frosted glass and MS grill on inner side.

Ventilators

UPVC frame with grill fixed.

ELECTRICAL POINTS

Safety device

MCB & ELCB (Earth leakage Circuit breaker)

Switches, sockets & points

Modular box & modular switches & Universal sockets of Anchor Roma/Ellyes/ equivalent

Tv &telephone Point in Living, Bed-1 & Bed-2

Data Point in living area

Split –air conditionerPoint will be provided in Living/ Dining & all Bedrooms

Exhaust fan Point will be given in all bathrooms & kitchen.

Geyser point will be provided in all toilets

Wires

Fire Retardant Low Smoke (FRLS) copper wire of a quality IS brand Finolex / orbit/

.Mirror & LED light

Mirror with LED light for all toilet

Common features

Elevator

Stainless Steel lift Automatic lift till terrace.

Safety purpose

Car Parking Column with Rubber Guard

Car parking Area roof shutter will be provided for car

Water Treatment Iron Removal Control. (if necessary)

EB Metre Fixed in Control Panel With L&T Switch/MCB. Copper piped gas provision.

Water proofing

Sump,Water Tank,Teracce,Bathroom and Service Area

Eposy Grounting

Tiles 4mm spacer pit filling with eposy grounting for sump,water tank(wall & flooring)bathroom,service area(floor)only

Government Facility

3 PHASE power supply connection ,Metro water & Drainage Connection Available.

SRI-LR Facility

Owners Name Board

Post box

Newspaper stand

Common key box

Letter writing for man hole cover,sump,earth pit etc

Staircase

Staircase Wall Tiles 12”x18” up to 3’.0”.

Staicase landing Area False Celling with LED Lights

Stainless Steel Hand Railing

Granite finish Staircase and Lobby

Genset

Generator with auto change over of powerica/Mahindra/equalient brand Common area,lift&motor 800w for 3 bhk,600w for 2 bhk

Water Motor

Pressure motor for fastest water delivery of Teximo brand/equalient brand

Bore water /well water for Jet of Teximo brand/equalient brand

sump metro water for Monoblock of Teximo brand/equalient brand

Water Supply Sump metro water capacity-12750 litres Tank from bore /well water capacity-12750 litres External Waste water PVC pipe(Finolex/Ahirvad/Kissan/equivalent) External water UPVC pipe(Ashirvad/Finolex/Kissan/equivalent) Internal water CPVC pipe (Finolex/Ahirvad/Kissan/equivalent)

BRASS VALVE All valve with brass gate valve/Ball Valve

Easier Cleaning

All Water Storage Tanks/Sump will be finished internally with tiles for easier maintennace

Staircase Wall Tiles 12”x18” up to 4’.0” for easier maintennace

Terrace

Terrace Sit Out Fixed

Terrace Fixed Stainless steel Single bowl sink (24 x 18) for vessel washing purpose

Terrace SS gate

Designer Landscaped Terrace with proper Waterproofing.

Pressed white cool tile flooring (Heat Reduction) Ladder facility for cleaning the tank. ATT Anti- termite treatment will be done All floor above skirting 0.6” feet and frames all around 1'0"feet done by pest control.

Landscape Suitable landscape at appropriate places in the project Vehicle E- charging Ground floor Two wheeler & car vehicle e-charging

Outdoor features

Water save

Automatic Controller Bore & Sump. Rain Water Harvesting done as per and government norms

Rain Water Harvesting done by all Round the Building. (specific area) Bathroom spout waste water connected to individual pipe,. AC waste water connected to individual pipe,.

Security

CCTV surveillance 16 camera as will be provided with monitor view and visible in your house Static IP CCTV for remote viewing

CAREFULLY DESIGNED TO CREATE VAASTU COMPLIANT HOMES

All units have North/East facing entrance

All units have South West facing master bedrooms

All units have South East facing kitchen

No units have North facing headboards

No units have South/West facing entrance

No units have North East or South West facing bathrooms and kitchen

No units have opposite the main door of another house

Building Maintenance

Free Maintenance Period for the supplied Products is 24 months. The Building will be maintained till Association is formed and charges will be collected as required from all Apartment Owners.

Disclaimer This brochure is purely a conceptual presentation does not carry any legal offerings. Builder reserves rights to change, alter, modify the plans, specification & features